## Sheet1
|  |  | 2023-04-21 | 2022-12-17
HP Feed Pump A | HP Feed Pump winding A temp | 11LAC11CT205¦¦XQ01 | 1 | 1
| HP Feed Pump Winding B Temp | 11LAC11CT207¦¦XQ01
| HP Feed Pump Winding C Temp | 11LAC11CT209¦¦XQ01
| Motor Bearing Temp A-DE | 11LAC11CT203¦¦XQ01
| Motor Bearing Temp B-NDE | 11LAC11CT204¦¦XQ01
| Pump Bearing Temp A-DE | 11LAC11CT201¦¦XQ01
| Pump Bearing Temp A-NDE | 11LAC11CT202¦¦XQ01
| DE Vibration -1 | 11LAC11CY101¦¦XQ01 | 2 | 2
| DE Vibration -2 | 11LAC11CY102¦¦XQ01
| NDE Vibration -1 | 11LAC11CY103¦¦XQ01
| NDE Vibration -2 | 11LAC11CY104¦¦XQ01
| Inlet Pressure | 11LAC11CP101¦¦XQ01
| Current HP Feed Pump A | 11LAC12AP001YQ01¦¦XQ01
| 6.6 KV BUS VOLTAGE | 10BBA02CE01¦¦XQ01
| Current HP Feed Pump B | 11LAC22AP001YQ01¦¦XQ01 | 3 | 3
| Current HP Feed Pump C | 11LAC32AP001YQ01¦¦XQ01
| STG ACTIVE POWER | 10MKA01CE05¦¦XQ01
| TURBINE RPM | 10MAY10CY103¦¦XQ01
| Dearerator Tank Temp | 11HAD50CT202¦¦XQ01
| TANK OF DEAREATOR (STEAM+WATER) TEMP | 11HAD50CT201¦¦XQ01
| STG FREQ | 10MKA01CE08¦¦XQ01
| LP DRUM LEVEL | LPASEL3¦44741 | 4 | 4
| LP DRUM PRESSURE 1 | 11HAD50CP101¦¦XQ01
| HP FEED WATER OUTLET FLOW | 11LAB80CF100¦¦123
| HPFW LCV INLET PRESSURE | 11LAB80CP101¦¦XQ01
| HPFW TEMPERATURE | 11LAB80CT201¦¦XQ01
| HPFW BYPASS CONTROL VALVE POSITION | 11LAB80AA111YQ01¦¦XQ01
| HPFW MAIN CONTROL VALVE POSITION | 11LAB80AA101YQ01¦¦XQ01
| Pump Status Running A | LCA12AP001¦¦XB01
| Pump Status Running B | LCA22AP001¦¦XB01
| Pump Status Running C | LCA32AP001¦¦XB01