## Sheet1
DATA SET-1
HP Feed Pump A winding A temp | 11LAC11CT205¦¦XQ01
HP Feed Pump A Winding B Temp | 11LAC11CT207¦¦XQ01
HP Feed Pump A Winding C Temp | 11LAC11CT209¦¦XQ01
HP Feed Pump A Motor Bearing Temp A-DE | 11LAC11CT203¦¦XQ01
HP Feed Pump A Motor Bearing Temp B-NDE | 11LAC11CT204¦¦XQ01
HP Feed Pump A Pump Bearing Temp A-DE | 11LAC11CT201¦¦XQ01
HP Feed Pump A Pump Bearing Temp A-NDE | 11LAC11CT202¦¦XQ01
DATA SET-2
HP Feed Pump A DE Vibration -1 | 11LAC11CY101¦¦XQ01
HP Feed Pump A DE Vibration -2 | 11LAC11CY102¦¦XQ01
HP Feed Pump A NDE Vibration -1 | 11LAC11CY103¦¦XQ01
HP Feed Pump A NDE Vibration -2 | 11LAC11CY104¦¦XQ01
HP Feed Pump A Inlet Pressure | 11LAC11CP101¦¦XQ01
Current HP Feed Pump A | 11LAC12AP001YQ01¦¦XQ01
6.6 KV BUS VOLTAGE | 10BBA02CE01¦¦XQ01
DATA SET-3
Current HP Feed Pump B | 11LAC22AP001YQ01¦¦XQ01
Current HP Feed Pump C | 11LAC32AP001YQ01¦¦XQ01
STG ACTIVE POWER | 10MKA01CE05¦¦XQ01
TURBINE RPM | 10MAY10CY103¦¦XQ01
Dearerator Tank Temp | 11HAD50CT202¦¦XQ01
TANK OF DEAREATOR (STEAM+WATER) TEMP | 11HAD50CT201¦¦XQ01
STG FREQ | 10MKA01CE08¦¦XQ01
DATA SET-4
LP DRUM LEVEL | LPASEL3¦44741
LP DRUM PRESSURE 1 | 11HAD50CP101¦¦XQ01
HP FEED WATER OUTLET FLOW | 11LAB80CF100¦¦123
HPFW OUTLET PRESSURE | 11LAB80CP101¦¦XQ01
HPFW TEMPERATURE | 11LAB80CT201¦¦XQ01
HPFW BYPASS CONTROL VALVE POSITION | 11LAB80AA111YQ01¦¦XQ01
HPFW MAIN CONTROL VALVE POSITION | 11LAB80AA101YQ01¦¦XQ01